## Slide 1: Ultrasound Basics

## Slide 2
Notes: The is an ultrasound machine, you will find it docked at designated areas in both North and West

## Slide 3
Notes: This is the keypad of the ultrasound machine

## Slide 4
On ->
button
Notes: This is the on button

## Slide 5
Notes: These buttons adjust the depth and gain or brightness of your image.

## Slide 6: Adjusting the Depth
Press
Play!
Notes: Notice how when you adjust the depth you are able to focus on superficial versus deeper structures.
Also note on the right-hand portion of the screen, there are centimeter markers to gauge your depth

## Slide 7: Adjusting the Gain
Press
Play!
Notes: Notice how adjusting your gain increases the brightness of your image

## Slide 8: Image Generation
 More dense objects
(e.g. bone or a stone)
show up as “brighter”
or hyperechoic.
 Less dense objects
(e.g. urine or blood) show up as “darker”
or anechoic.
Bladder
Urine
Gallbladder
Stone

## Slide 9: Different Probes
Lower Frequency Probes
Higher Frequency Probes
Torso and abdomen
Skin surface
Endocavitary, e.g. intravaginal

## Slide 10
The directional indicator or
“probe marker” corresponds to the left side of the screen

## Slide 11
The probe marker should always point towards the patient’s head or right side.

## Slide 13: Common ED Uses for Ultrasound
Examine the kidneys for hydronephrosis or a calculus
Examine the heart for a pericardial effusion and a gross estimation of ejection fraction
Examine the bladder for distention or a calculus
Check for free fluid in the abdomen and/or pelvis (aka the FAST exam)

## Slide 14: Renal Exam

## Slide 15: Renal Exam, cont.
Renal
Anatomy

## Slide 16: Renal Exam, cont.

## Slide 20: Renal Exam, cont. Renal Calculus with Hydronephrosis
Stone
Note the shadow cast by the stone
Hydronephrosis

## Slide 21: Cardiac Exam

## Slide 22: Cardiac Exam, cont. Parasternal Long Axis View

## Slide 23: Cardiac Exam, cont.
*Note the solid white line

## Slide 24: Cardiac Exam, cont. Pericardial Effusion
Pericardial Effusion
*The white line is now split, indicating fluid in the pericardial sac

## Slide 25
Cardiac Exam, cont. Estimating Ejection Fraction: Normal
Press
Play!
Notice, the strong
“squeeze” of the
left ventricle.
LV

## Slide 26
Cardiac Exam, cont. Estimating Ejection Fraction: Reduced
Press
Play!
Notice, the poor “squeeze” of the
left ventricle.
LV

## Slide 27: Bladder Exam
Long Axis: Probe marker towards the patient’s head
Short Axis: Probe marker towards the patient’s right

## Slide 28: Bladder Exam, cont.
Short Axis
Probe marker towards the patient’s right
Long Axis
Probe marker towards the patient’s head
Bladder
Bladder

## Slide 29: Bladder Exam, cont. Bladder Distension
*Your Attending or
a senior resident
will assist you with
taking measurements
to check for an
increased post-void
residual (PVR).

## Slide 30: Bladder Exam, cont. Bladder Calculus
Stone
Note the shadow cast by the stone

## Slide 31: Free Fluid Check aka FAST Exam
3 Views

## Slide 32: FAST Exam, cont. RUQ View

## Slide 33: FAST Exam, cont. RUQ View NORMAL

## Slide 34: FAST Exam, cont. RUQ View ABNORMAL, +Free Fluid

## Slide 35: FAST Exam, cont. LUQ View

## Slide 36: FAST Exam, cont. LUQ View NORMAL

## Slide 37: FAST Exam, cont. LUQ View ABNORMAL, +Free Fluid

## Slide 38: FAST Exam, cont. Suprapubic View

## Slide 39: FAST Exam, cont. Suprapubic View NORMAL
Short Axis
Long Axis
Bladder
Bladder

## Slide 40: FAST Exam, cont. Suprapubic View ABNORMAL, +Free Fluid
Short Axis
Long Axis

## Slide 41: After Your Exam…
Please make sure to wipe the probe with the Cavi-Wipes available throughout the ED.
Please return the US machine to its docking station for it to charge.

## Slide 42: Have fun!